## MultiCategory_Electrical
Element ID | Category | Mark | Family | Type | Semantic Class | MasterFormat | IfcGUID
1030823 | Electrical Equipment | 2D1 | Panelboard Distribution V03 | 208V 1200A | Breaker_Panel | 26 24 16 Panelboards | 36y4w7kwH6LBmyJI0kjZ9n
1023470 | Electrical Equipment | 2T1 | Transformer Dry-Type Distribution | 300 kVA | Transformer | 26 12 16 Dry-Type, Medium-Voltage Transformers | 3ZNVAkhnf3afkiM5Y_Mx7W
1026331 | Electrical Equipment | 4S1 | Panelboard Distribution V03 | 480V 600A | Breaker_Panel | 26 24 16 Panelboards | 3ZNVAkhnf3afkiM5Y_MuKL
459977 | Fire Alarm Devices | CO-01 | 284631-CO | Carbon Monoxide Detector Ceiling | Fire_Alarm | 28 46 31 Fire-Alarm Initiating Devices | 3KwmMWuhD83gQOxHjYSXZ7
822488 | Fire Alarm Devices | CO2-01 | 284911-CO2 | CO2 Detector Ceiling | Fire_Alarm | 28 49 11 Electronic Personal Safety Detection Systems | 2cxngLHB98Vxklh_sJIha1
1039400 | Electrical Equipment | EM-104 | Meter V01 | Meter V01 | Electrical_Meter | 26 16 00 Medium-Voltage Metering | 36y4w7kwH6LBmyJI0kjbJ_
459948 | Fire Alarm Devices | FIREHORN-01 | 284641-Horn Fire | Horn Ceiling | Fire_Alarm | 28 46 41 Fire-Alarm Notification Appliances | 3KwmMWuhD83gQOxHjYSXYY
453227 | Fire Alarm Devices | FIRESTROBE-01 | 284641-Strobe | Strobe Ceiling | Fire_Alarm | 28 46 41 Fire-Alarm Notification Appliances | 3KwmMWuhD83gQOxHjYS$Pb
490193 | Electrical Fixtures | JBOX-01 | 262726-JBOX | JBox | OutletConnectionPoint | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjP6X
509782 | Electrical Fixtures | JBOX-02 | 262726-JBOX | JBox | OutletConnectionPoint | 26 27 26 Wiring Devices | 3Ul2YL1er8lR0EzC1PLJz4
441149 | Lighting Fixtures | LITEDWN-01 | 265100-LIGHT-CAN | 6" | Luminaire | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwSp
441150 | Lighting Fixtures | LITEDWN-02 | 265100-LIGHT-CAN | 6" | Luminaire | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwSm
441151 | Lighting Fixtures | LITEDWN-03 | 265100-LIGHT-CAN | 6" | Luminaire | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwSn
441152 | Lighting Fixtures | LITEDWN-04 | 265100-LIGHT-CAN | 6" | Luminaire | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwTE
441153 | Lighting Fixtures | LITEDWN-05 | 265100-LIGHT-CAN | 6" | Luminaire | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwTF
441154 | Lighting Fixtures | LITEDWN-06 | 265100-LIGHT-CAN | 6" | Luminaire | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwTC
441155 | Lighting Fixtures | LITEDWN-07 | 265100-LIGHT-CAN | 6" | Luminaire | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwTD
441156 | Lighting Fixtures | LITEDWN-08 | 265100-LIGHT-CAN | 6" | Luminaire | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSwTA
443942 | Lighting Fixtures | LITEDWN-09 | 265100-LIGHT-CAN | 6" | Luminaire | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSzee
443943 | Lighting Fixtures | LITEDWN-10 | 265100-LIGHT-CAN | 6" | Luminaire | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSzef
446041 | Lighting Fixtures | LITELED-01 | 265100-LIGHT-LED | 24"x24" | Luminaire | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSz9N
446042 | Lighting Fixtures | LITELED-02 | 265100-LIGHT-LED | 24"x24" | Luminaire | 26 51 00 Interior Lighting | 3KwmMWuhD83gQOxHjYSz9K
799007 | Lighting Devices | OCC-01 | 283513-OCC | Occupancy Sensor | OccupancySensor | 28 35 13 Personnel Tracking Systems | 185vMzHvP61ud3uvM9im6t
806248 | Lighting Devices | OCC-02 | 283513-OCC | Occupancy Sensor | OccupancySensor | 28 35 13 Personnel Tracking Systems | 3ZkKWovCT6Ih0c$0XKttx5
806264 | Lighting Devices | OCC-03 | 283513-OCC | Occupancy Sensor | OccupancySensor | 28 35 13 Personnel Tracking Systems | 3ZkKWovCT6Ih0c$0XKttxL
806274 | Lighting Devices | OCC-04 | 283513-OCC | Occupancy Sensor | OccupancySensor | 28 35 13 Personnel Tracking Systems | 3ZkKWovCT6Ih0c$0XKttul
806286 | Lighting Devices | OCC-05 | 283513-OCC | Occupancy Sensor | OccupancySensor | 28 35 13 Personnel Tracking Systems | 3ZkKWovCT6Ih0c$0XKttuZ
806296 | Lighting Devices | OCC-06 | 283513-OCC | Occupancy Sensor | OccupancySensor | 28 35 13 Personnel Tracking Systems | 3ZkKWovCT6Ih0c$0XKttur
428352 | Electrical Equipment | PNL-01 | 262416-PANEL | 120/208V_1P_125A_42 Circuits | Breaker_Panel | 26 24 16 Panelboards | 3KwmMWuhD83gQOxHjYSvLE
872430 | Electrical Equipment | PNL-02 | 260900-BAS | Default | BACnet_Controller | 26 09 00 Instrumentation and Control for Electrical Systems | 11qcwxhdn5KQiddvUWxwIf
925565 | Electrical Equipment | PNL-03 | 284621-FirePanel | Default | Fire_Alarm_Control_Panel | 28 46 21 Fire-Alarm Control Units and Related Equipment | 1utI29$4jBkeclHoky8Vuq
476276 | Electrical Fixtures | RECPT-01 | 262726-RECEPT | 120V Duplex GFCI Above Counter | ElectricityOutlet | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQy4
476469 | Electrical Fixtures | RECPT-02 | 262726-RECEPT | 120V Special Purpose Outlet - Washer | ElectricityOutlet | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQv5
476602 | Electrical Fixtures | RECPT-03 | 262726-RECEPT | 240V Special Purpose Outlet - Dryer (2 Poles) | ElectricityOutlet | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQxA
477108 | Electrical Fixtures | RECPT-04 | 262726-RECEPT | 240V Special Purpose Outlet - Oven (2 Poles) | ElectricityOutlet | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQp4
477740 | Electrical Fixtures | RECPT-05 | 262726-RECEPT | 120V Special Purpose Outlet - Microwave | ElectricityOutlet | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQ5S
477846 | Electrical Fixtures | RECPT-06 | 262726-RECEPT | 120V Duplex | ElectricityOutlet | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQ7c
477893 | Electrical Fixtures | RECPT-07 | 262726-RECEPT | 120V Duplex | ElectricityOutlet | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQ6r
478205 | Electrical Fixtures | RECPT-08 | 262726-RECEPT | 120V Duplex | ElectricityOutlet | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQ2D
478360 | Electrical Fixtures | RECPT-09 | 262726-RECEPT | 120V Duplex | ElectricityOutlet | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQVe
478400 | Electrical Fixtures | RECPT-10 | 262726-RECEPT | 120V Duplex | ElectricityOutlet | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQUm
478500 | Electrical Fixtures | RECPT-11 | 262726-RECEPT | 120V Duplex | ElectricityOutlet | 26 27 26 Wiring Devices | 2O0yYBTJj5dflal5AXjQPK
808223 | Electrical Fixtures | RECPT-12 | 262726-RECEPT | 120V Duplex GFCI Above Counter | ElectricityOutlet | 26 27 26 Wiring Devices | 2cxngLHB98Vxklh_sJIc36
808280 | Electrical Fixtures | RECPT-13 | 262726-RECEPT | 120V Duplex GFCI Above Counter | ElectricityOutlet | 26 27 26 Wiring Devices | 2cxngLHB98Vxklh_sJIc21
459967 | Fire Alarm Devices | SMOKE-01 | 284631-Smoke Detector | Smoke Detector | Smoke_Detector | 28 46 31 Fire-Alarm Initiating Devices | 3KwmMWuhD83gQOxHjYSXYn
507341 | Lighting Devices | SW-01 | 260923-SWITCH | 120V Single Pole | Switch | 26 09 23 Lighting Control Devices | 2uZwBPnkX6YgNNeYdm78Uc
507925 | Lighting Devices | SW-02 | 260923-SWITCH | 120V Single Pole | Switch | 26 09 23 Lighting Control Devices | 2uZwBPnkX6YgNNeYdm7Ff_
508466 | Lighting Devices | SW-03 | 260923-SWITCH | 120V Single Pole | Switch | 26 09 23 Lighting Control Devices | 2uZwBPnkX6YgNNeYdm7FXP
508477 | Lighting Devices | SW-04 | 260923-SWITCH | 120V Single Pole | Switch | 26 09 23 Lighting Control Devices | 2uZwBPnkX6YgNNeYdm7FXM
509052 | Lighting Devices | SW-05 | 260923-SWITCH | 120V Single Pole | Switch | 26 09 23 Lighting Control Devices | 2uZwBPnkX6YgNNeYdm7FuN
509071 | Lighting Devices | SW-06 | 260923-SWITCH | 120V Single Pole | Switch | 26 09 23 Lighting Control Devices | 2uZwBPnkX6YgNNeYdm7Fxa
928758 | Data Devices | TSTAT-01 | 230913-Thermostat | 230913-Thermostat | Thermostat | 23 09 13 Instrumentation and Control Devices for HVAC | 1KJS1pys5FI8Hs5g99Xqkn
928765 | Data Devices | TSTAT-02 | 230913-Thermostat | 230913-Thermostat | Thermostat | 23 09 13 Instrumentation and Control Devices for HVAC | 1KJS1pys5FI8Hs5g99Xqkw